## Instructions
Instruções para uso da planilha de cálculos YF MAC-HD e YF MAC-ON
1 | Faça seu teste e NÃO zere o leitor
2 | Copie e cole os resultados nas células superiores amarelas das folhas YF MAC-HD ou YF MAC-ON (as amostras são executadas individualmente para YF MAC-HD e em triplicado para YF MAC-ON)
3 | Os controles serão verificados automaticamente e, se o teste for válido, os resultados de suas amostras aparecerão na tabela na parte inferior da folOs controles serão verificados automaticamente e, se o teste for válido, os resultados de suas amostras aparecerão na tabela na parte inferior da folha.
Observe que, se os controles não forem válidos, nenhum resultado será calculado
4 | Insira o nome do operador, data, número do lote do kit, data de validade do kit, laboratório e método de lavagem usado nas células do meio coloridas em amarelo
5 | Digite os nomes das amostras nas células inferiores coloridas em amarelo na tabela de resultados.
Somente as células coloridas em amarelo podem ser editadas; o restante está bloqueado

## Spreadsheet explanation
Plate Set-up |  |  |  | YF MAC-HD | [12 empty] | YF MAC-ON
| Blank | [12 empty] | Blank
| Blank | Sample 1 | Sample 7 |  | Sample 13 |  | Sample 19 |  | Positive control on VA | Positive control on NA |  |  |  | Blank | [7 empty] | Positive control on VA | Positive control on NA
| Blank | Sample 2 | Sample 8 |  | Sample 14 |  | Sample 20 | [6 empty] | Blank | Sample 1 | Sample 3 |  | Sample 5 |  | Sample 7
| Blank | Sample 3 | Sample 9 |  | Sample 15 |  | Sample 21 | [6 empty] | Blank
|  | Sample 4 | Sample 10 |  | Sample 16 |  | Sample 22 |  | Negative control on VA | Negative control on NA | [11 empty] | Negative control on VA | Negative control on NA
|  | Sample 5 | Sample 11 |  | Sample 17 |  | Sample 23 | [7 empty] | Sample 2 | Sample 4 |  | Sample 6 |  | Sample 8
|  | Sample 6 | Sample 12 |  | Sample 18 |  | Sample 24
| VA (or YFVA) |  | NA |  | Empty wells | [8 empty] | VA (or YFVA) |  | NA |  | Empty wells
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PASTE AS "VALUES".
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | PASTE OD's IN THE TOP
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CELLS COLORED YELLOW
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OF THE YF MAC-HD and YF MAC-ON tabs.
Blank OD A1:D1 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DO NOT USE
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AUTOMATICALLY
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | BLANKED
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RESULTS
Blank
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blank OD A1:D1 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Assay Acceptance Criteria
Blank
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Assay Acceptance Criteria
Blank
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | YF MAC-HD | [12 empty] | YF MAC-ON
|  |  | Blank | [12 empty] | Blank
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Blank | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
•P/N = Average Absorbance with Viral Antigen
Average Absorbance of Negative Control with Viral Antigen
•P/N for PC = PCVA
NCVA (*Note: if NCVA is < 0.05, then use 0.05 for the calculations)
•P/N for sample(s)= Average VA OD
NCVA(*Note: if NCVA is < 0.05, then use 0.05 for the calculations)
•NBR = Average Absorbance with Viral Antigen
Average Absorbance with Normal Antigen
•NBR for PC = PCVA
PCNA
•NBR for sample(s)= Average VA OD
Average NA OD
*Note: Refer to manual calculations section of Instruction for Use (IFU) for further details.
Average Blank OD reading is calculated
Average Blank OD is subtracted from all well OD readings
PCVA-VL ---MIN DIFFERENCE= Determine if the three blank subtracted absorbance values are < 0.3 different from each other by subtracting the smallest blank-subtracted absorbance value from the middle value, and the middle from the highest
PCVA= Average Positive Control on Yellow Fever Anitigen
NCVA= Average Negative Control on Yellow Fever Anitigen. *Note: If NCVA is less than 0.05 (< 0.05), excel spreadsheet will use 0.05 for all the calculations.
NCVA-VL ---MIN DIFFERENCE= Determine if the three blank subtracted absorbance values are < 0.025 different from each other by subtracting the smallest blank-subtracted absorbance value from the middle value, and the middle from the highest
PCVA-VL MIN DIFFERENCE & NCVA-VL MIN DIFFERENCE
Calculate PCVA, PCNA & NCVA
PCNA= Average Positive Control on Normal Anitigen
VA OD
NA OD
AVERAGE VA OD
AVERAGE NA OD
Spreadsheet Acronyms
OD = Optical Density
YF = Yellow Fever
VA = Viral Antigen (YF)
NA = Normal Antigen
PC = Positive Control
NC = Negative Control
PCVA = Average PC on VA
NCVA = Average NC on VA
PCNA = Average PC on NA
PCVA-VL = PCVA variability limit
NCVA-VL = NCVA variability limit
NBR = Normal Background Ratio
P/N = Ratio of Average Absorbance with Viral Antigen to Average Absorbance of Negative Control with Viral Antigen

## YF MAC-HD
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | PASTE AS "VALUES"
B
C | [12 empty] | PASTE OD's IN UPPER CELLS COLORED
D | [12 empty] | YELLOW AND DO NOT USE
E | [12 empty] | AUTOMATICALLY BLANKED RESULTS
F
G
H
| Blank OD A1:D1 of 96-well plate format | #DIV/0!
Values minus blank
Blank
| Blank | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Blank | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Blank | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Controls | Result | Criteria | Valid? |  |  |  |  | YF MAC-HD CALCULATIONS SHEET
| PCVA-VL--------------MIN DIFFERENCE | #DIV/0! | <0.3 | #DIV/0!
| PCVA | N/A | ≥0.6 | #DIV/0! |  |  |  |  | Operator name
| NCVA-VL-------------MIN DIFFERENCE | #DIV/0! | <0.025 | #DIV/0! |  |  |  |  | Date
| NCVA | #DIV/0! | <0.2 | #DIV/0! |  |  |  |  | Kit lot#
| PCNA | #DIV/0! | [6 empty] | Kit expiry date
| NBR (PCVA/PCNA) | N/A | ≥2 | Not valid |  |  |  |  | Laboratory
| P/N for Pos control | #DIV/0! | ≥3 | #DIV/0! |  |  |  |  | Wash method
| Are all controls valid? |  |  | #DIV/0!
| Test result interpretations | P/N | NBR
| POS | ≥2.0 | ≥1.5
| EQ | ≥1.5 - <2.0 | ≥1.5
| NEG | <1.5 | ANY
| NEG | ANY | <1.5
YF MAC-HD Results
| Sample name | Cell | VA OD | P/N | Cell | NA OD | NBR | Test result | Action/Report
| 1 | C15 | #DIV/0! | #DIV/0! | C15 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | C16 | #DIV/0! | #DIV/0! | C16 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 3 | C17 | #DIV/0! | #DIV/0! | C17 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 4 | C18 | #DIV/0! | #DIV/0! | C18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 5 | C19 | #DIV/0! | #DIV/0! | C19 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 6 | C20 | #DIV/0! | #DIV/0! | C20 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 7 | E15 | #DIV/0! | #DIV/0! | E15 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 8 | E16 | #DIV/0! | #DIV/0! | E16 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 9 | E17 | #DIV/0! | #DIV/0! | E17 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 10 | E18 | #DIV/0! | #DIV/0! | E18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 11 | E19 | #DIV/0! | #DIV/0! | E19 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 12 | E20 | #DIV/0! | #DIV/0! | E20 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 13 | G15 | #DIV/0! | #DIV/0! | G15 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 14 | G16 | #DIV/0! | #DIV/0! | G16 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 15 | G17 | #DIV/0! | #DIV/0! | G17 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 16 | G18 | #DIV/0! | #DIV/0! | G18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 17 | G19 | #DIV/0! | #DIV/0! | G19 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 18 | G20 | #DIV/0! | #DIV/0! | G20 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 19 | I15 | #DIV/0! | #DIV/0! | I15 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 20 | I16 | #DIV/0! | #DIV/0! | I16 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 21 | I17 | #DIV/0! | #DIV/0! | I17 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 22 | I18 | #DIV/0! | #DIV/0! | I18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 23 | I19 | #DIV/0! | #DIV/0! | I19 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 24 | I20 | #DIV/0! | #DIV/0! | I20 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
NOTE: All calculations in this spreadsheet will use the unrounded values stored in these cells; thus, manual calculations made with the displayed values may NOT align with automatically-calculated values

## YF MAC-HD control check (hidden)
PCVA-VL | data | Max/med/min |  | Diff | IF <0.3 AVG of values | AVG of all 3 replicates if not >VL | Avg of 3 if all <VL, if not, avg of 2 that are lowest
K15 | #DIV/0! | #DIV/0! | MAX | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
K16 | #DIV/0! | #DIV/0! | MED | #DIV/0! | #DIV/0!
K17 | #DIV/0! | #DIV/0! | MIN
input cell | values |  |  |  | PCVA-VL-----------------> | #DIV/0! | #DIV/0!
#DIV/0!
[5 empty] | PCVA-----------------------> | #DIV/0! | #DIV/0!
[5 empty] | PCVA rounded down----> | N/A
NCVA-VL | data | Max/med/min |  | Diff | IF <0.025 AVG of values | AVG of all 3 replicates if not >VL | Avg of 3 if all <VL, if not, avg of 2 that are lowest
K18 | #DIV/0! | #DIV/0! | MAX | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
K19 | #DIV/0! | #DIV/0! | MED | #DIV/0! | #DIV/0!
K20 | #DIV/0! | #DIV/0! | MIN
input cell | values |  |  |  | NCVA-VL-----------------> | #DIV/0! | #DIV/0!
#DIV/0!
[5 empty] | NCVA if <VL_------> | #DIV/0! | #DIV/0!
[5 empty] | NCVA @0.05 if applicable--> | #DIV/0! | #DIV/0!
[5 empty] | NCVA-------> | #DIV/0!
PCNA-Variation | data | Max/med/min |  | Diff | IF <0.3 AVG of values | AVG of all 3 replicates if not >VL | Avg of 3 if all <VL, if not, avg of 2 that are lowest | Average of all 3 replicates if none are <0.3 diff
L15 | #DIV/0! | #DIV/0! | MAX | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
L16 | #DIV/0! | #DIV/0! | MED | #DIV/0! | #DIV/0!
L17 | #DIV/0! | #DIV/0! | MIN
input cell | values |  |  |  | PCNA-min diff value--------> | #DIV/0!
#DIV/0!
#DIV/0!
[5 empty] | PCNA-----------------------> | #DIV/0!

## YF MAC-ON
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | PASTE AS "VALUES"
B
C | [12 empty] | PASTE OD's IN UPPER CELLS COLORED
D | [12 empty] | YELLOW AND DO NOT USE
E | [12 empty] | AUTOMATICALLY BLANKED RESULTS
F
G
H | [10 empty] | 6-
| Blank OD A1:D1 of 96-well plate format | #DIV/0!
Values minus blank
Blank
| Blank | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Blank | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Blank | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Controls | Result | Criteria | Valid? |  |  |  |  | YF MAC-ON (Overnight) CALCULATIONS SHEET
| PCVA-VL--------------MIN DIFFERENCE | #DIV/0! | <0.3 | #DIV/0!
| PCVA | N/A | ≥0.6 | #DIV/0! |  |  |  |  | Operator name
| NCVA-VL-------------MIN DIFFERENCE | #DIV/0! | <0.025 | #DIV/0! |  |  |  |  | Date
| NCVA | #DIV/0! | <0.2 | #DIV/0! |  |  |  |  | Kit lot#
| PCNA | #DIV/0! | [6 empty] | Kit expiry date
| NBR (PCVA/PCNA) | N/A | ≥2 | Not valid |  |  |  |  | Laboratory
| P/N for Pos control | #DIV/0! | ≥3 | #DIV/0! |  |  |  |  | Wash method
| Are all controls valid?* |  |  | #DIV/0!
| Test result interpretations | P/N | NBR
| POS | ≥3.0 | ≥2.0
| EQ | ≥2.0 - <3.0 | ≥2.0
| NEG | <2.0 | ANY
| NEG | ANY | <2.0
YF MAC-ON Results
| Sample name | Cell | VA OD | AVERAGE VA OD | P/N | Cell | NA OD | AVERAGE NA OD | NBR | Test result | Report/Action
| 1 | C15 | #DIV/0! | #DIV/0! | #DIV/0! | C15 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | C16 | #DIV/0! |  |  | C16 | #DIV/0!
|  | C17 | #DIV/0! |  |  | C17 | #DIV/0!
| 2 | C18 | #DIV/0! | #DIV/0! | #DIV/0! | C18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | C19 | #DIV/0! |  |  | C19 | #DIV/0!
|  | C20 | #DIV/0! |  |  | C20 | #DIV/0!
| 3 | E15 | #DIV/0! | #DIV/0! | #DIV/0! | E15 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | E16 | #DIV/0! |  |  | E16 | #DIV/0!
|  | E17 | #DIV/0! |  |  | E17 | #DIV/0!
| 4 | E18 | #DIV/0! | #DIV/0! | #DIV/0! | E18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | E19 | #DIV/0! |  |  | E19 | #DIV/0!
|  | E20 | #DIV/0! |  |  | E20 | #DIV/0!
| 5 | G15 | #DIV/0! | #DIV/0! | #DIV/0! | G15 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | G16 | #DIV/0! |  |  | G16 | #DIV/0!
|  | G17 | #DIV/0! |  |  | G17 | #DIV/0!
| 6 | G18 | #DIV/0! | #DIV/0! | #DIV/0! | G18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | G19 | #DIV/0! |  |  | G19 | #DIV/0!
|  | G20 | #DIV/0! |  |  | G20 | #DIV/0!
| 7 | I15 | #DIV/0! | #DIV/0! | #DIV/0! | I15 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | I16 | #DIV/0! |  |  | I16 | #DIV/0!
|  | I17 | #DIV/0! |  |  | I17 | #DIV/0!
| 8 | I18 | #DIV/0! | #DIV/0! | #DIV/0! | I18 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | I19 | #DIV/0! |  |  | I19 | #DIV/0!
|  | I20 | #DIV/0! |  |  | I20 | #DIV/0!
NOTE: All calculations in this spreadsheet will use the unrounded values stored in these cells; thus, manual calculations made with the displayed values may NOT align with automatically-calculated values.

## YF MAC-ON control check (hidden)
PCVA-VL | data | Max/med/min |  | Diff | IF <0.3 AVG of values | AVG of all 3 replicates if not >VL | Avg of 3 if all <VL, if not, avg of 2 that are <VL
K15 | #DIV/0! | #DIV/0! | MAX | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
K16 | #DIV/0! | #DIV/0! | MED | #DIV/0! | #DIV/0!
K17 | #DIV/0! | #DIV/0! | MIN
input cell | values |  |  |  | PCVA-VL-----------------> | #DIV/0! | #DIV/0!
#DIV/0!
[5 empty] | PCVA-----------------------> | #DIV/0! | #DIV/0!
[5 empty] | PCVA rounded down | N/A
NCVA-VL | data | Max/med/min |  | Diff | IF <0.025 AVG of values | AVG of all 3 replicates if not >VL | Avg of 3 if all <VL, if not, avg of 2 that are <VL
K18 | #DIV/0! | #DIV/0! | MAX | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
K19 | #DIV/0! | #DIV/0! | MED | #DIV/0! | #DIV/0!
K20 | #DIV/0! | #DIV/0! | MIN
input cell | values |  |  |  | NCVA-VL-----------------> | #DIV/0! | #DIV/0!
#DIV/0!
[5 empty] | NCVA if <VL-------> | #DIV/0! | #DIV/0!
[5 empty] | NCVA @0.05 if applicable--> | #DIV/0! | #DIV/0!
[5 empty] | NCVA-----------> | #DIV/0!
PCNA-Variation | data | Max/med/min |  | Diff | IF <0.3 AVG of values | AVG of all 3 replicates if not >VL | Avg of 3 if all <VL, if not, avg of 2 that are <VL | Average of all 3 replicates if none are <0.3 diff
L15 | #DIV/0! | #DIV/0! | MAX | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
L16 | #DIV/0! | #DIV/0! | MED | #DIV/0! | #DIV/0!
L17 | #DIV/0! | #DIV/0! | MIN
input cell | values |  |  |  | PCNA-min diff value--------> | #DIV/0!
#DIV/0!
#DIV/0!
[5 empty] | PCNA-----------------------> | #DIV/0!